- SSRL Radiation Safety Work Control Form (see instructions on pg-2)	Rev July-2012

Area:	 		Form #:			Date:

- Preliminary Applicability Screen:

- (a) Will closing the beam line injection stoppers mitigate the radiological hazards introduced by the proposed work? 	        Yes	 No

- (b) Can the closed state of the beam line injection stoppers be assured during the proposed work (ie., work does NOT involve injection stoppers or associated HPS)?        Yes	 No

- If the answers to both questions are yes, the work can be performed safely under an SSRL RSWCF. If the answer to either question is no, then the work must be performed under a SPEAR3 RSWCF.

- Section 1: Description of work to be done, including date and time. (Person Responsible completes section)

Person Responsible (print, initial, date)                                    Area Manager (print, initial, date)

(Harrington, Johnson, Pianetta, Rabedeau, or Van Campen)

Section 2a: Description of requirements before starting the work (SSO enters requirements for section 2a)

2a Requirements are complete (type name, initial and date/time):

Person doing the work		            	DO

- SPEAR3 Accelerator Operator informed of the open RSWCF number and effected area (DO)

- Section 2b: Description of requirements after the work is completed

- (SSO enters requirements for section 2b and should include needed verifications and checkouts)

Work Approvals:

(Required to open form)	Safety Office signature/date	Radiation Physics signature/date

- Section 3: Signoff Requirements (SSO checks required signature boxes)

Work Complete (Person Responsible)

BCS/HPS/PPS (certification/functional check)

Radiation Physicist

Duty Operator

Other

- Section 4: Signoff indicating form close-out and area readiness for beam operation

Safety Office signature/date		                                        Duty Operator signature/date

SPEAR3 Accelerator Operator informed of RSWCF closure (DO)

SSRL Radiation Safety Work Control Procedure

The following procedure is used for controlling all work (*) involving the SSRL radiation safety systems which include: Shielding, including exclusion barriers, the Personnel Protection System (PPS and HPS), and the Beam Containment System (BCS).

Before starting the work, the Area Manager or Responsible Beam Line Engineer shall identify those work items which require a Radiation Safety Work Control Form (RSWCF).  Blank RSWCF are available from the SSRL web site or from the Duty Operator control station above BL1.

Procedure

- The person responsible for the work completes the Preliminary Applicability Screen and Section 1, “Job title and Description”, signs and gets approval from a listed Area Manager who verifies the Applicability Screen based on the work described in Section 1. Next the form is given to the SSRL Safety Officer (SSO).

- The SSO will then:

  - Verify applicability and area manager approval.

  - Contact the radiation physicist for review and approval, indicate any special conditions or checkouts in Sections 2a & 2b and record the SSO and RP Approvals.

  - Check any boxes in Section 3 to indicate the required signoffs or acknowledgements.

- The Duty Operator will then execute the controls listed in Section 2a, enter the form number and date,  place the form in the Radiation Safety Work Control Form Logbook located at the Duty Operator control station above BL1, and inform the SPEAR3 Accelerator Operator of the open SSRL RSWCF.

- After the completion of the work and before operation of the facility, the Duty Operator will review the open RSWCF to ensure that the necessary checkouts and signoffs have taken place for the area and beam lines into which the beam is to be operated.

The Duty Operator and the SSO will then sign Section 4 of the form acknowledging that all checkouts and signoffs have been completed, before restarting the facility. The Duty Operator shall inform the SPEAR3 Accelerator Operator of the RSWCF closure.

Off-Hours Procedure

- If it is necessary to perform work on radiation safety systems outside normal working hours, when it may not be possible to obtain signatures from some of the key personnel listed in Paragraphs 1–3, the following abbreviated procedure may be used.

  - In the absence of the person responsible, the Operator may complete and sign Section 1, “Job title and Description.” In the absence of one of the listed Area Managers, the Program Manager may sign for the Area Manager.

  - To complete Section 2, the Operator shall consult with the SSRL Safety Office (SSO) and Radiation Physicist and indicate approval and conditions.

If a Radiation Physicist cannot be reached, the responsibility for the approval may be assumed by the SSO, and vice versa. If the work to be performed is a direct repair or replacement to restore the normal function of the safety system, the work may be started prior to contact being made with the SSO or Radiation Physicist.  For work on any beam line which meets the Preliminary Applicability Screen, the beam line shall be keyed off-line at the BLxx-0 HPS chassis and the online/offline key tagged and locked in the SSRL key safe. If the work does not meet the conditions of the Preliminary Applicability Screen, then a SPEAR3 RSWCF must be opened.

  - To complete Section 3, the Operator shall consult with an SSO representative and indicate approval and conditions.  If an SSO representative cannot be reached, the responsibility for the SSO approval may be assumed by the Radiation Physicist.

  - The Operator shall complete Section 4, and return the closed and signed original to the Radiation Safety Work Control Form Logbook at the SSRL Duty Operator station above BL1.

* 	Work is here defined as any activity which can interrupt or change the functionality of the system, other than the operation of normal controls, switches, and so forth, and excluding system checks or calibrations.